## ESTIMATE
SCH-3314 ¦ ROM COST ESTIMATE ¦ LEVEL 3 ¦ FY27 ¦ PAX ID 387433 ¦ Fi Web BU26PPE71M
A. ROM FORMULA CHAIN (live formulas reference PARAMETERS tab)
Step | Element | Amount ($) | Formula / Source
1 | Base Direct Cost (FY24 CONUS) |  | Sum of all scope items on SCOPE_DETAIL
2 | x ACF 1.85 (Camp Schwab Okinawa) |  | UFC 3-701-01 w/Ch 7 (25 Jul 2025), Table 4-1
3 | x Compound Escalation Factor |  | OSD FY25 published rate; FY24 to FY27
4 | x (1 + General Requirements 10%) |  | FSRM program-directed; UFS 3-740-05
5 | x Cost Adjustment Factor (calibrated) |  | Calibrates ROM chain to locked TPC; absorbs base-cost adjustments
| ITEMS SUBTOTAL (PAX Block 9 paste total) |  | Equals Locked TPC / 1.23552
B. PAX ROLLUP VERIFICATION (mirrors what PAX prints on the form)
Step | Element | Amount ($) | Formula / Source
| Items Subtotal |  | From Section A
| + Contingency (10.0%) PAX-applied |  | FSRM program-directed
Items Subtotal x 1.10
| + SIOH (8.0%) PAX-applied |  | OCONUS FSRM customer-directed
TCC x 1.08
| + DB Design (4.0%) PAX-applied |  | UFC 3-730-01 (2024)
TFC x 1.04
| TOTAL PROJECT COST ($000 rounded) |  | Printed face value on DD Form 1391
| Locked TPC ($000 rounded) |  | Reconciliation target
| Reconciliation (must equal 0) |  | Printed minus Locked
| Planning and Design (6.0%) NON ADD |  | Informational; does not roll into TPC
C. UNIFORMAT II LV2 SUMMARY (Base Direct pre-ACF, by category)
Code | Category | Base Direct ($) | Description
C10 | Interior Construction |  | 2 scope item(s)
D20 | Plumbing |  | 2 scope item(s)
D30 | HVAC / Mechanical |  | 14 scope item(s)
D50 | Electrical / Communications |  | 3 scope item(s)
F20 | Selective Demolition |  | 2 scope item(s)
TOTAL BASE DIRECT (must equal Section A row 5)
D. METHODOLOGY
Estimate Level | Level 3 ROM per UFS 3-740-05 (02 Feb 2026). Non-mandatory supplement; for information only.
Scope Basis | 23 discrete work items across 5 UNIFORMAT II Lv2 categories. Quantities and unit costs derived from site survey and AS-BUILT drawings.
Area Cost Factor | 1.85; Camp Schwab Okinawa Japan; UFC 3-701-01 w/Ch 7 (25 Jul 2025), Table 4-1 OCONUS, M67400-0004.
Escalation | 2.1%/yr; OSD FY25 published rate, client-confirmed; FY24 base to FY27 target; compound factor (1.021)^3 = 1.0643.
General Requirements | 10.0%; FSRM program-directed; UFS 3-740-05.
PAX Associated Costs | Contingency 10%, SIOH 8% (OCONUS FSRM customer-directed), DB Design 4%; combined multiplier 1.23552. Planning and Design 6% NON ADD; informational only.
Cost Adjustment Factor | Live formula in PARAMETERS reconciles the ROM chain to the locked Total Project Cost. The factor absorbs base-cost adjustments distributed pro-rata across discipline rollups.
Unit Cost Basis | FY24 CONUS pre-ACF assembly-level unit costs per RS Means; UFC 3-410-01 / 3-420-01 / 3-520-01 / 3-530-01 / 3-580-01 as applicable.
Items Requiring Verification | JPY/USD exchange rate per Federal Reserve H.10 on date of PAX submission.
Prepared By | Anthony L. Potter ¦ Facilities Planner ¦ MCIPAC G-F PPE ¦ 29 Apr 2026
E. VERSION HISTORY
Version | Date | Total Project Cost ($) | Notes
Current | 29 Apr 2026 |  | 4-tab discipline-rollup architecture; PAX-pasteable Block 9; reconciles to locked TPC

## SCOPE_DETAIL
SCH-3314 ¦ SCOPE DETAIL & QUANTITY TAKEOFF ¦ BASE YEAR FY24 CONUS DIRECT COSTS ¦ Fi Web BU26PPE71M
Yellow = confirmed scope. White = formula-driven extended cost. All unit costs are FY24 CONUS pre-ACF, assembly-level RS Means basis.
Item | Group | Work Description | Qty | Unit | Unit Cost (FY24 CONUS) | Extended Cost | UNIFORMAT II Lv2 | Cost Basis / Notes
1. HVAC: BUILDING-WIDE DIFFUSERS AND CEILING RESTORATION
1 | G1-HVAC DIFFUSERS | Replace supply and return diffusers building-wide, type C2 ceiling diffuser (FL1: 22 EA, FL2: 56 EA, building total 78 EA) | 78 | EA | 425 |  | D30 | RS Means FY24 CONUS; ceiling diffuser supply/return R&R, parametric; UFC 3-410-01
2 | G1-HVAC DIFFUSERS | Patch ceiling at diffuser locations, building-wide (78 locations); restore to match adjacent surfaces | 78 | EA | 150 |  | D30 | RS Means FY24 CONUS; ceiling patch per diffuser location, parametric
2. HVAC: OFFICE DUCT MODIFICATIONS (ROOMS 105/106/107 CLUSTER)
3 | G2-OFFICE DUCT MODS | Supply and return duct modifications to offices converted from storage, Rooms 105/106/107 cluster - install new branch ducts and diffusers, remove old exhaust fans from converted spaces | 1 | LS | 12000 |  | D30 | RS Means FY24 CONUS; HVAC duct branch extension and diffuser addition for occupancy change, parametric; UFC 3-410-01 ¦ ASHRAE 62.1
3. HVAC: EXHAUST FAN REPLACEMENT
4 | G3-EXHAUST FANS | Remove and replace standard ceiling exhaust fans building-wide - 25 EA (FE-1 through FE-17 excluding FE-5/FE-7/FE-8; FE-18 through FE-30 excluding FE-21/FE-22/FE-28) | 25 | EA | 650 |  | D30 | RS Means FY24 CONUS; ceiling exhaust fan R&R, parametric; per AE drawing set as-built fan schedule confirmed
5 | G3-EXHAUST FANS | Remove and replace straight sirocco fans (5 EA) - FE-5 (Rm 115 Mech), FE-8 (Rm 118-2/3), FE-21 (Rm 221/221A Men's Toilet), FE-22 (Rm 221A Men's Shower), FE-28 (Rm 241/242 Toilet/Shower) | 5 | EA | 2500 |  | D30 | RS Means FY24 CONUS; centrifugal sirocco exhaust fan R&R, parametric; larger centrifugal unit type per as-built schedule 111374
6 | G3-EXHAUST FANS | FE-7, Room 118-1 Storage - remove and replace ceiling exhaust fan; confirmed in as-built ventilation equipment schedule (drawing 111374); exterior louver on drawing 111377 is separate architectural work excluded from this scope | 1 | EA | 650 |  | D30 | RS Means FY24 CONUS; standard ceiling exhaust fan R&R, parametric; fan tag confirmed in as-built ventilation equipment schedule per drawing 111374; room confirmed as Storage per SH Plus floor plan 10/20/2025
4. HVAC: SYSTEM TEST, ADJUST, AND BALANCE (TAB)
7 | G4-SYSTEM BALANCING | Test, Adjust, and Balance (TAB) full HVAC system, building-wide, after all work complete | 1 | LS | 18000 |  | D30 | RS Means FY24 CONUS; full building TAB per AABC/NEBB standards, 28,699 SF, parametric; UFC 3-410-01
5. HVAC: DUTY GUARD ROOM SYSTEMS (ROOMS 102 AND 103)
8 | G5-GUARD ROOM HVAC | Remove and replace minisplit systems, Duty Hut Room 102 and Duty Room 103 (2 EA, ductless split, approx 1.5 to 2 ton each) | 2 | EA | 4200 |  | D30 | RS Means FY24 CONUS; ductless mini-split system R&R, parametric; UFC 3-410-01
9 | G5-GUARD ROOM HVAC | Remove abandoned fancoils, outdoor units, refrigerant piping, and related HVAC equipment, guard room area (Rooms 102/103) | 1 | LS | 3500 |  | D30 | RS Means FY24 CONUS; HVAC equipment demolition and disposal, parametric
10 | G5-GUARD ROOM HVAC | Remove and replace Heat Exchange Units (HEUs) - HEU-1 (Room 102 Duty Hut) and HEU-2 (Room 103 Duty Room) - heat recovery ventilators, 2 EA | 2 | EA | 4500 |  | D30 | RS Means FY24 CONUS; heat recovery ventilator R&R, parametric; per as-built ventilation plan 111377 HEU schedule confirmed
11 | G5-GUARD ROOM HVAC | Install new fresh air system serving both guard rooms (Rooms 102 and 103); replaces removed HEUs; provides conditioned fresh air to Duty Hut and Duty Room | 1 | LS | 8500 |  | D30 | RS Means FY24 CONUS; ERV/HRV fresh air system with ductwork and controls, parametric; UFC 3-410-01 ¦ ASHRAE 62.1
6. MASS NOTIFICATION SYSTEM
12 | G6-MNS | Install junction box for Mass Notification System (MNS), Mechanical Room 115, FL1 | 1 | EA | 1500 |  | D50 | RS Means FY24 CONUS; electrical junction box with conduit and connections, parametric; UFC 3-601-02 ¦ NFPA 72
7. VAULT AND SECRET STORAGE CONVERSION
13 | G7A-VAULT DEMO | Remove SIPR network rack from existing SIPR area (Rooms 209/210/211/212 secure cluster) | 1 | EA | 1200 |  | F20 | RS Means FY24 CONUS; rack removal and disposal, parametric
14 | G7A-VAULT DEMO | Remove existing vault door from SIPR area (Rooms 209/210/211/212 cluster) | 1 | EA | 1500 |  | F20 | RS Means FY24 CONUS; vault door removal, parametric
15 | G7B-VAULT CONST | Install GSA Class V vault door at SECRET storage area entrance (Corridor 251, access to Rooms 245-250 cluster) - Hamilton CI-5 door, FLANGE 2094 flange set, certified installation, prorated air freight TQL Global Air Services CVG-OKA | 1 | EA | 14599.4 |  | C10 | Hamilton CI-5 door + FLANGE 2094: $10,143.40 ¦ Prorated air freight TQL Global Air Services 5-door CVG-OKA shipment: $1,956.00 ¦ Certified install labor 2-person crew OCONUS: $2,500.00 ¦ Authority: MCO 5530.14A ¦ UFC 4-010-05 ¦ GSA Class V specification
16 | G7B-VAULT CONST | Install security bars on windows, SECRET storage area (Rooms 245-250 cluster) | 10 | EA | 1200 |  | C10 | RS Means FY24 CONUS; security bar installation per window, parametric; 10 EA confirmed by client 16 Mar 2026; MCO 5530.14A
17 | G7C-VAULT ELEC | Install SIPR network rack in new SECRET storage area (Rooms 245-250 cluster) - rack, backboard, ground bus bar, fiber optic connection from TR, conduit per CNSSAM TEMPEST/01-13 | 1 | LS | 8500 |  | D50 | RS Means FY24 CONUS; SIPR network rack installation with infrastructure, parametric; CNSSAM TEMPEST/01-13 ¦ DoDI 5200.08 ¦ UFC 3-580-01
18 | G7C-VAULT ELEC | Install conduit and raceways for IDS sensors, SECRET storage area (Rooms 245-250 cluster) | 1 | LS | 3500 |  | D50 | RS Means FY24 CONUS; IDS sensor conduit and raceway installation, parametric; MCO 5530.14A ¦ ESAMS
8. HVAC AND PLUMBING: AHU AND MECHANICAL ROOM REPLACEMENT, MECHANICAL ROOM 115
19 | G8-AHU PLUMBING | Replace central station AHU AC-1, Mechanical Room 115; 5,100 CFM, 2-pipe chilled water; original 2007 installation | 1 | EA | 42000 |  | D30 | RS Means FY24 CONUS; central station CHW AHU R&R, 2-pipe CHW, approx 5,000 CFM; Div 23 74 13 parametric; UFC 3-410-01
20 | G8-AHU PLUMBING | Replace central station AHU AC-2, Mechanical Room 115; 14,545 CFM, 2-pipe chilled water; original 2007 installation | 1 | EA | 89000 |  | D30 | RS Means FY24 CONUS; central station CHW AHU R&R, 2-pipe CHW, approx 15,000 CFM; Div 23 74 13 parametric; UFC 3-410-01
21 | G8-AHU PLUMBING | Mechanical room overhaul, Mechanical Room 115: CHW piping modifications, sensors, dampers, expansion tank, ductwork, insulation, and peripheral connections | 1 | LS | 39300 |  | D30 | RS Means FY24 CONUS; 30% allowance of combined AHU cost ($42,000 + $89,000 = $131,000) = $39,300 LS; Level 3 ROM percentage-based allowance for peripheral work tied to major equipment replacement; scope confirmed per drawings and site; UFC 3-410-01
22 | G8-AHU PLUMBING | Replace electric water heater WHE, Mechanical Room 115; 100 gal commercial electric | 1 | EA | 3800 |  | D20 | RS Means FY24 CONUS; electric water heater R&R, commercial, 100 gal; Div 22 33 30 parametric; UFC 3-420-01
23 | G8-AHU PLUMBING | Replace domestic hot water recirculation pumps, Mechanical Room 115; 2 EA inline commercial | 2 | EA | 1600 |  | D20 | RS Means FY24 CONUS; inline recirculation pump R&R, commercial; Div 22 11 23 parametric; UFC 3-420-01
TOTAL BASE DIRECT COST (FY24 CONUS)

## PARAMETERS
SCH-3314 ¦ COST ESTIMATE PARAMETERS ¦ LEVEL 3 ROM ¦ FY27 ¦ PAX ID 387433 ¦ Fi Web BU26PPE71M
PROJECT IDENTIFICATION
Estimate Title | SCH-3314 ¦ Repair BATTALION SQUADRON HEADQUARTERS | Text | DD Form 1391 ¦ PAX ID 387433 ¦ Fi Web BU26PPE71M
Building / Installation | SCH-3314 ¦ Camp Schwab, Okinawa, Japan | Text | MCIPAC G-F PPE
Supported Units | 4th Marine Regiment / III MEF | Text | Primary supported units
PAX ID | 387433 | ID | PAX System
Fi Web Project Number | BU26PPE71M | ID | Fi Web confirmed
iNFADS RPUID | 50931 | ID | iNFADS Real Property record
Primary Project CCN | 61072 | CCN | iNFADS CCN 61072
Total Building GSF | 28699 | SF | iNFADS confirmed
Plant Replacement Value (iNFADS) | 29826797 | $ | iNFADS confirmed; UFC 3-701-01 w/Ch 7
Estimate Date | 29 Apr 2026 | Date | Date of estimate production
Estimate Level | Level 3 ROM | Text | UFS 3-740-05 (2 Feb 2026); for information only
Delivery Method | Design-Build (DB) | Method | UFC 3-730-01 (2024)
COST INPUTS (yellow = user input; locked unless directed)
Base Year | 2024 | FY | FY24 CONUS base costs
Target Fiscal Year | 2027 | FY | FY27 construction start
Area Cost Factor (ACF) | 1.85 | Multiplier | UFC 3-701-01 w/Ch 7 (25 Jul 2025), Table 4-1 OCONUS Okinawa M67400-0004
Escalation Rate (annual) | 0.021 | % | OSD FY25 published rate, client confirmed
Escalation Years | 3 | Years | FY24 base to FY27 target
General Requirements | 0.1 | % | FSRM program-directed; UFS 3-740-05
PAX ASSOCIATED COSTS (informational; applied by PAX at submission)
Contingency | 10% | % | FSRM program-directed; PAX-applied to items subtotal
Supervision Inspection and Overhead (SIOH) | 8% | % | OCONUS FSRM customer-directed (8.0%); PAX-applied
Design-Build Design (DB) | 4% | % | UFC 3-730-01 (2024); PAX-applied
Planning and Design (P&D) | 6% | % | NON ADD; informational only; does not roll into TPC
DERIVED VALUES (live formulas; do not edit)
Compound Escalation Factor |  | Factor | (1 + escalation)^years
Base Direct Cost (FY24 CONUS) |  | $ | Sum of all scope items on SCOPE_DETAIL
Pre-Calibration Subtotal |  | $ | Base Direct x ACF x Escalation x (1 + General Requirements)
Locked Total Project Cost | 1949383 | $ | PAX-locked TPC; reconciliation target
Items Subtotal Target (PAX paste) |  | $ | Locked TPC / 1.23552 (1.10 x 1.08 x 1.04)
Cost Adjustment Factor |  | Factor | Items Subtotal Target / Pre-Calibration Subtotal; calibrates ROM chain to locked TPC
PLANNING RATES
JPY/USD Planning Rate | 150.4415 | Rate | FY26 budget planning rate; H.10 live rate at PAX submission
ACTIVE REFERENCES
MCO 11000.5 (03 Jun 2016) ¦ Real Property FSRM Program
MCO 11000.12 (08 Sep 2014) ¦ Real Property Facilities Manual
Consistency Review Board Guidelines (May 2024, REV #15) ¦ DD Form 1391 line-item sequencing
UFC 3-701-01 with Change 7 (25 Jul 2025) ¦ PUC, ACF, PRV authority
UFC 3-730-01 (2024) ¦ Design-Build contracting
UFS 3-740-05 (02 Feb 2026) ¦ Cost estimating ROM levels
JED Cost Estimating Guidance (Combined, Nov 2025)
Japan District Design Guide v9 (April 2025)
10 U.S.C. Section 2802 ¦ DoD 4270.5-M ¦ Classification of Work

## DD1391_BLOCK9
SCH-3314 ¦ DD FORM 1391 BLOCK 9 - PAX PASTE ¦ LEVEL 3 ROM ¦ FY27 ¦ PAX ID 387433 ¦ Fi Web BU26PPE71M
All amounts in $000s. Paste discipline rollups into PAX Block 9 items table; PAX-loaded Cont 10% / SIOH 8% / DB 4% render the printed Total Project Cost. P&D 6% NON ADD shown for visibility.
Cost Element | Amount ($000) | Notes / UNIFORMAT
C10 ¦ Interior Construction |  | UNIFORMAT II Lv2 C10 rollup; absorbs base-cost adjustments via Cost Adjustment Factor
D20 ¦ Plumbing |  | UNIFORMAT II Lv2 D20 rollup; absorbs base-cost adjustments via Cost Adjustment Factor
D30 ¦ HVAC / Mechanical |  | UNIFORMAT II Lv2 D30 rollup; absorbs base-cost adjustments via Cost Adjustment Factor
D50 ¦ Electrical / Communications |  | UNIFORMAT II Lv2 D50 rollup; absorbs base-cost adjustments via Cost Adjustment Factor
F20 ¦ Selective Demolition |  | UNIFORMAT II Lv2 F20 rollup; absorbs base-cost adjustments via Cost Adjustment Factor
ITEMS SUBTOTAL (PAX Block 9 paste total) |  | Sum of discipline rollups; this is the value pasted into PAX items table
Contingency (10.0%) PAX-applied |  | 10% of items subtotal; FSRM program-directed
Total Contract Cost |  | Items subtotal x 1.10
SIOH (8.0%) PAX-applied |  | 8% of TCC; OCONUS FSRM customer-directed
Total Funded Cost |  | TCC x 1.08
DB Design (4.0%) PAX-applied |  | 4% of TFC; UFC 3-730-01 (2024)
TOTAL PROJECT COST |  | TFC x 1.04 = items subtotal x 1.23552
TOTAL PROJECT COST ($000 rounded) |  | Printed TPC on DD Form 1391 face
Planning and Design (6.0%) NON ADD |  | Informational; does not roll into TPC; PAX renders separately on form
Reconciliation (must equal 0) |  | Printed TPC ($000) minus Locked TPC ($000)
CLASSIFICATION OF WORK
Construction |  | 100% of Total Project Cost ¦ 10 U.S.C. Section 2802
Special Interest: Restoration and Modernization |  | 100% SRM ¦ MCO 11000.12 ¦ DoD 4270.5-M